## S5 Table
S5 Table. Information regarding the laboratory standards used in this study.
Laboratory standards used for bone collagen isotope analysis. Calibration standard data from USGS and NIST.
Standard | Material Type | Purpose | δ13C (‰, vs VPDB) | δ15N (‰, vs AIR)
USGS40 | L-glutamic acid | calibration | –26.39 | –4.52
USGS41a | L-glutamic acid | calibration | 36.55 | 47.55
NIST 1577C* | bovine liver | internal standard for comparison | -17.49 | 8.17
*This is an elemental standard and does not have reported isotopic values. The values reported here have been used by the Light Stable Isotope Mass Spectrometry Laboratory (University of Florida Department of Geological Sciences).
Record of standard runs during collagen isotope analysis:
Standard | δ15N (‰, vs AIR) | δ13C (‰, vs VPDB) | wt %N | wt %C
USGS40 | -4.5017 | -26.3314 | 9.49 | 40.66
USGS40 | -4.6039 | -26.3638 | 9.3 | 40.63
USGS40 | -4.623 | -26.3547 | 9.54 | 40.86
USGS40 | -4.5338 | -26.378 | 9.52 | 40.88
USGS40 | -4.3994 | -26.4822 | 9.71 | 40.95
USGS40 | -4.4575 | -26.4296 | 9.61 | 40.97
USGS41a | 47.5376 | 36.5681 | 9.46 | 40.92
USGS41a | 47.5617 | 36.5317 | 9.55 | 41.28
NIST 1577C | 8.0587 | -17.6254 | 9.75 | 47.53
NIST 1577C | 8.1921 | -17.5607 | 9.88 | 47.59
Precision for USGS40 (N = 6): δ13C = 0.06‰, δ15N = 0.09‰
Laboratory standards used for bone apatite and enamel isotope analysis. Standard data from IAEA.
Standard | Material Type | δ13C (‰, vs VPDB) | δ18O (‰, vs VPDB)
NBS 18 | calcite | -5.014 | -23.01
NBS 19 | limestone | 1.95 | -2.2
Record of standard runs during bone apatite isotope analysis*: |  |  |  |  | Record of standard runs during enamel isotope analysis:
Standard | δ13C (‰, vs VPDB) | δ18O (‰, vs VPDB) |  |  | Standard | δ13C (‰, vs VPDB) | δ18O (‰, vs VPDB)
NBS 18 | -4.9898 | -22.9374 |  |  | NBS-18 | -4.9749 | -22.9698
NBS 18 | -5.0298 | -23.0813 |  |  | NBS-18 | -5.0443 | -23.0495
NBS 18 | -5.0223 | -23.1513 |  |  | NBS-18 | -4.9984 | -23.0494
NBS 18 | -4.9973 | -22.8662 |  |  | NBS-18 | -5.0214 | -22.9699
NBS 19 | 1.9667 | -2.1665 |  |  | NBS-18 | -5.0223 | -23.1513
NBS 19 | 1.9777 | -2.1993 |  |  | NBS-18 | -4.9973 | -22.8662
NBS 19 | 1.9387 | -2.1269 |  |  | NBS-19 | 1.9138 | -2.1737
NBS 19 | 1.9407 | -2.2737 |  |  | NBS-19 | 1.9933 | -2.108
NBS 19 | 1.9597 | -2.1983 |  |  | NBS-19 | 1.9561 | -2.2066
NBS 19 | 1.9337 | -2.234 |  |  | NBS-19 | 1.953 | -2.2275
NBS 19 | 1.9567 | -2.1586 |  |  | NBS-19 | 1.944 | -2.2255
NBS 19 | 1.9257 | -2.2439 |  |  | NBS-19 | 1.9349 | -2.2195
NBS 19 | 1.9513 | -2.2313 |  |  | NBS-19 | 1.953 | -2.2066
NBS 19 | 1.9523 | -2.1633 |  |  | NBS-19 | 1.951 | -2.2335
NBS 19 | 1.9633 | -2.2323 |  |  | NBS-19 | 1.9666 | -2.1596
NBS 19 | 1.9573 | -2.1533 |  |  | NBS-19 | 1.9466 | -2.1387
NBS 19 | 1.9523 | -2.1853 |  |  | NBS-19 | 1.9726 | -2.1884
NBS 19 | 1.9523 | -2.2423 |  |  | NBS-19 | 1.9516 | -2.249
NBS 19 | 1.9613 | -2.1603 |  |  | NBS-19 | 1.9346 | -2.2093
NBS 19 | 1.9093 | -2.2343 |  |  | NBS-19 | 1.9336 | -2.2093
*The last 2 NBS 18 and last 8 NBS 19 standards were run in a set that included bone apatite and enamel, so these standards appear in both sets. |  |  |  |  | NBS-19 | 1.9516 | -2.1993
Precision for NBS 19 (N = 16): δ13C = 0.02‰, δ18O = 0.04‰ |  |  |  |  | NBS-19 | 1.9426 | -2.2471
[5 empty] | NBS-19 | 1.9513 | -2.2313
[5 empty] | NBS-19 | 1.9523 | -2.1633
Laboratory standard used for enamel 87Sr/86Sr analysis. |  |  |  |  | NBS-19 | 1.9633 | -2.2323
Standard | Material Type | 87Sr/86Sr |  |  | NBS-19 | 1.9573 | -2.1533
NBS 987 | strontium carbonate | 0.71034±0.00026 (NIST), revised to 0.71024 (see Guiserix et al. 2022) |  |  | NBS-19 | 1.9523 | -2.1853
[5 empty] | NBS-19 | 1.9523 | -2.2423
[5 empty] | NBS-19 | 1.9613 | -2.1603
Record of standard runs during 87Sr/86Sr isotope analysis for tooth enamel samples: |  |  |  |  | NBS-19 | 1.9093 | -2.2343
Standard | 87Sr/86Sr | Error |  |  | Precision for NBS-19 (N = 24): δ13C = 0.02‰, δ18O = 0.04‰
NBS 987 | 0.71025 | 1.2e-05
NBS 987 | 0.71025 | 1.4e-05
NBS 987 | 0.71027 | 1.4e-05
NBS 987 | 0.71024 | 1.5e-05
NBS 987 | 0.71024 | 1.1e-05
NBS 987 | 0.71025 | 1.1e-05
NBS 987 | 0.71024 | 1.8e-05
NBS 987 | 0.71025 | 2.1e-05
NBS 987 | 0.71024 | 1.6e-05
NBS 987 | 0.71023 | 2.2e-05
NBS 987 | 0.71023 | 2.1e-05
NBS 987 | 0.71025 | 1.8e-05
NBS 987 | 0.71024 | 1.7e-05
NBS 987 | 0.7102 | 1.4e-05
NBS 987 | 0.71029 | 1e-05
NBS 987 | 0.71024 | 1.6e-05
NBS 987 | 0.71025 | 1.5e-05
NBS 987 | 0.71022 | 1.5e-05
Average | 0.71024
STDEV | 2.0169e-05
Precision (2*STDEV) | 4.0339e-05
Record of standard runs during 87Sr/86Sr isotope analysis for water samples:
Standard | 87Sr/86Sr | Error
NBS 987 | 0.71025 | 7.2e-06
NBS 987 | 0.71025 | 1.2e-05
NBS 987 | 0.71025 | 8.6e-06
NBS 987 | 0.71025 | 1.2e-05
NBS 987 | 0.71024 | 9.2e-06
Average | 0.71025
STDEV | 6.1403e-06
Precision (2*STDEV) | 1.2281e-05
Laboratory standards used for water samples on the Picarro L2120-I for δ18O and δD:
Standard | Material Type | δ18O (%, vs VSMOW) | δD (%, vs VSMOW)
UW Antarctic Water* | water | -36.13 | -289.89
Lake Tulane Water* | water | 0.26 | 0.94
*These are internal standards that were calibrated using international standards (USGS49 and USGS50).
Record of standard runs during Picarro water isotope analysis:
Standard | δ18O (%, vs VSMOW) | δD (%, vs VSMOW)
UW Antarctic | -36.1213 | -289.8559
UW Antarctic | -36.0876 | -289.7252
UW Antarctic | -36.1812 | -290.0889
Average | -36.13 | -289.89
STDEV | 0.047405 | 0.18
Lake Tulane | 0.15877 | 0.49374
Lake Tulane | 0.43593 | 1.743
Lake Tulane | 0.1853 | 0.58322
Average | 0.26 | 0.94
STDEV | 0.15 | 0.7